## Slide 1
ENVIRONMENTALLY CONTROLLED TEST CHAMBER
TEAM 503
Nicholas Blenker | Tucker Hall | David Wilson

## Slide 2
Meet Team 503
Design Engineer
Systems Engineer
Controls Engineer
David Wilson
Nicholas Blenker
Tucker Hall
Tucker Hall
Nicholas Blenker

## Slide 3
Sponsor & Advisor
Danfoss
FAMU-FSU College of Engineering
William Bilbow
Keith Larson
Nicholas Blenker

## Slide 4
Validate the existing design of an environmental testing chamber and deliver an assembly that regulates its internal temperature and humidity for use in a laboratory environment.
Project Objective
Nicholas Blenker

## Slide 5
Danfoss Project Approval
Created a Bill of Materials
CAD and
Calculations
  Project Start
  Fall 2019
Project Background
v
v
Nicholas Blenker
Notes: Need to Add more specific dates for each item!

## Slide 6
Motivation
COMPRESSOR
DUCTWORK
CONTROL
VOLUME
RETURN AIR
TREATED AIR
Nicholas Blenker
AIR HANDLING
UNIT
CHAMBER

## Slide 7
Question 1
Question 2
Question 3
Question 4
Question 5
What problem(s) need to be solved?
What are the expectations by the end of the project?
What is the volume of air that needs to be controlled?
What components are already in place?
What are some other design considerations?
Customer Needs
Nicholas Blenker
Notes: Clarify/change question 1
Basically outlines project scope

## Slide 8
What problem(s) need to be solved?
Interpreted Needs
Nicholas Blenker
Adapt and tune current chamber components.
Build it to provide environmental control.
What problem(s) need to be solved?
Question 1
Notes: Figure out exact volume, airflow, and exchange rate
Or change question to: What part of the test chamber are we controlling air quality?

## Slide 9
What are the expectations by the end of the project?
Nicholas Blenker
Ensure all hardware meets specified conditions.
Validate the previous heat balance analysis.
Tune the controls to achieve stable and specified conditions within target time.
Use 6-sigma problem-solving.
The chamber must go from 10 to 55 degrees Celsius and from 10% to 95% relative humidity.
Interpreted Needs
Question 2

## Slide 10
Interpreted Needs
Nicholas Blenker
Focus on regulating the temperature and humidity of the air surrounding the compressor.
What is the volume of air that needs to be controlled?
Question 3

## Slide 11
Interpreted Needs
Nicholas Blenker
The design fits in and around the test rig and its surroundings.
The design is supported by previously installed parts.
Question 4
What components are already in place?

## Slide 12
Interpreted Needs
What are some other design
considerations?
Nicholas Blenker
The compressor and components are in view and the panels provide internal visibility.
Accommodate space for the crane to install the compressor from above.
What are some other design
considerations?
Question 5

## Slide 13
Assumptions
The test rig will rest on a flat and level surface
Conductive heat from the compressor is negligible
The size of the compressor is unchanging
The existing support has adequate load capacity
Tucker Hall

## Slide 14
Finalize
Implement
Validate
Key Goals
Tucker Hall

## Slide 15
Functional Decomposition
Tucker Hall

## Slide 16
Functional Decomposition
Support
Control
Accessibility
Tucker Hall

## Slide 17
Functional Decomposition
Support
Maintain structural stability
Support airducts and equipment
Support
Tucker Hall

## Slide 18
Functional Decomposition
Control
Maintains climate stability
Control temperature
Control humidity
Control airflow
Control
Tucker Hall

## Slide 19
Accessibility
Chamber
Enable exchange of compressors
Accessable from all sides
Provide clear view of compressor
Provide clearance for crane
Climate
Functional Decomposition
Accessibility
Tucker Hall

## Slide 20
Accessibility
Chamber
Climate
Display information
Adjust automatically
Adjust temperature
Adjust humidity
Functional Decomposition
Tucker Hall
Accessibility

## Slide 21: Future Work
Equations
Controls
Materials

## Slide 22
Future Work
Targets &
Metrics
Concept
Generation
Concept Evaluation
Concept
Selection
Tucker Hall

## Slide 23
Key Goals – SAE Standards

## Slide 24
Cross Reference Chart
Hierarchy Flow Chart
Functional Decomposition (new)

## Slide 25
Color Palette

## Slide 26
Team 503 Icons

## Slide 27: Views of Chamber

## Slide 28: Logos

## Slide 29: Tool kit
Text box 1
Summary Box
Outlined Text box

## Slide 30: APA Tables
Category 1 | Category 2 | Category 3 | Category 4 | Category 5
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  | 
 | Category 2 |  | Category 3 | 
Category 1 | subcategory 1 | subcategory 2 | subcategory 3 | subcategory 4
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  |