## Slide 1
ENVIRONMENTALLY CONTROLLED TEST CHAMBER
TEAM 503
Nicholas Blenker | Tucker Hall | David Wilson

## Slide 2
Meet Team 503
Design Engineer
Controls Engineer
Systems Engineer
Tucker Hall
Nicholas Blenker
Tucker Hall
David Wilson
Nicholas Blenker

## Slide 3
Sponsor & Advisor
Danfoss
FAMU-FSU College of Engineering
William Bilbow
Keith Larson
Nicholas Blenker

## Slide 4
Validate the existing design of an environmental testing chamber and deliver an assembly that regulates its internal temperature and humidity for use in a laboratory environment.
Project Objective
Nicholas Blenker

## Slide 5
Danfoss Project Approval
Created a Bill of Materials
CAD and
Calculations
Project Start
2019
Project Background
Nicholas Blenker
Covid

## Slide 6: Covid

## Slide 7
Motivation
DUCTWORK
CONTROL
VOLUME
AIR HANDLING
UNIT
CHAMBER
COMPRESSOR
TREATED AIR
RETURN AIR
Presenter

## Slide 8
Assumptions
The test rig will rest on a flat and level surface
Conductive heat from the compressor is negligible
The size of the compressor is unchanging
The existing support has adequate load capacity
Nicholas Blenker

## Slide 9
Finalize
Implement
Validate
Key Goals
Nicholas Blenker

## Slide 10
Targets & Metrics
Support
Control
Accessibility
Nicholas Blenker

## Slide 11
Key Targets & Metrics
Function | Target | Metric
Maintain Structural Stability | 10 lbs | Weight
Support Airducts and Equipment | 5 lbs | Weight
Support
Nicholas Blenker

## Slide 12
Key Targets & Metrics
Function | Target | Metric
Monitor Temperature and Humidity | 1% | Temp/RH
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Control
Nicholas Blenker

## Slide 13
Key Targets & Metrics
Function | Target | Metric
Monitor Temperature and Humidity | 1% | Temp/RH
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Control
Nicholas Blenker

## Slide 14
Key Targets & Metrics
Function | Target | Metric
Monitor Temperature and Humidity | 1% | Temp/RH
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Control
Nicholas Blenker

## Slide 15
Key Targets & Metrics
Function | Target | Metric
Monitor Temperature and Humidity | 1% | Temp/RH
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Control
Nicholas Blenker

## Slide 16
Key Targets & Metrics
Function | Target | Metric
Allow Access from All Sides | 3 Sides | Accessible Sides
Enable Efficient Exchange of Compressor(s) | 15 minutes | Time
Provide Clear View of Compressor | 360° Visibility | Degrees of visibility
Adjust Temperature and Humidity | No Human Interaction | Human Interaction
Accessibility
Nicholas Blenker

## Slide 17
Concept Generation
Brainstorm
Biomimicry
Anti-Problem
Nicholas Blenker

## Slide 18
Morphological Chart
Concept Generation
AHU Placement | Duct Attachment | Infiltration Seals | Other Features
Floor-Mounted | Fixed Overhead Ducts | Puddy | Duct Dips with Valves
Wall-Mounted | Detachable Side Ducts | Rubber Inserts | Duct Close-Off
Tucker Hall

## Slide 19
Morphological Chart
Concept Generation
AHU Placement | Duct Attachment | Infiltration Seals | Other Features
Floor-Mounted | Fixed Overhead Ducts | Puddy | Duct Dips with Valves
Wall-Mounted | Detachable Side Ducts | Rubber Inserts | Duct Close-Off
Tucker Hall

## Slide 20
Morphological Chart
Concept Generation
AHU Placement | Duct Attachment | Infiltration Seals | Other Features
Floor-Mounted | Fixed Overhead Ducts | Puddy | Duct Dips with Valves
Wall-Mounted | Detachable Side Ducts | Rubber Inserts | Duct Close-Off
Tucker Hall

## Slide 21
Concept Selection
Pairwise Comparison
House
of Quality
Pugh
Chart
Analytical Hierarchy Chart
Q
S
S
+
-
-
-
Tucker Hall

## Slide 22
Results
Floor-Mounted AHU with Detachable Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and Close-Off Inside Ductwork
1
2
1
3
1
2
1
3
Tucker Hall
Concept Selection

## Slide 23
Screw-On Side Ducts​
Key Changes
29,000 BTU Chiller
Floor-Mounted AHU
Industrial Humidifier
1
2
3
4
1
2
3
4
Tucker Hall

## Slide 24
Screw-On Side Ducts
- Easily removable
- More accessible
- Reduced length of ductwork
- Increased portability
1
1
Key Changes
1
Tucker Hall

## Slide 25
29,000 BTU A/C
- More versatile
- Most value (power vs cost)
- Compensates for leaks &
infiltration
- Decreases time response
- Built-in ductwork
2
Key Changes
2
Tucker Hall

## Slide 26
4
Industrial Humidifier
- Ensures 95% RH
- Large tank
- Decreases time response
- Automated control system
1
3
Key Changes
3
Tucker Hall

## Slide 27
Floor-Mounted AHU
- Limited wall space
- Suggested by lab staff
- Reduced length of ductwork
- Increased portability
1
4
Key Changes
4
Tucker Hall

## Slide 28
Proposed Materials
1 x 29,000 BTU Portable A/C
3 x Electric Strip Heaters
1 x Industrial Humidifier
4 x Humidity Sensors
4 x Temperature Sensors
1 x Arduino Mega
1 x Duct Sealant
1 x Duct Take-Off
1 x Clear Vinyl
1 x Rubber Sealing Strips
1 x Foam Sealing Strips
1 x Ambient Air Adapter
1 x Pack of Wires
1 x Fiberglass Insulation
David Wilson

## Slide 29
Risk Analysis
29
David Wilson
Steps/Features
Effects
Actions
Heating Strips
Humidifying
Cooling
Controls/Wiring

## Slide 30
Risk Analysis
30
David Wilson
Steps/Features
Effects
Actions
Heating Strips
Humidifying
Cooling
Controls/Wiring
Burns/Fire
Electric Shock
Equipment Failure
Property Damage

## Slide 31
Risk Analysis
31
David Wilson
Steps/Features
Effects
Actions
Heating Strips
Humidifying
Cooling
Controls/Wiring
PPE & Caging
Collection System
Electrical Tape
Float Switches
Burns/Fire
Electric Shock
Equipment Failure
Property Damage

## Slide 32
Design Changes
Condensation Collection System
Air Adapter for Humidifier
Waterproof Electric Heaters
Control Changes Over 110°F
A/C is Turned Off
Heat Vented to Cool
David Wilson
32

## Slide 33
1 x Industrial Humidifier
4 x Humidity Sensors
4 x Temperature Sensors
1 x 29,000 BTU Portable A/C
3 x Electric Strip Heaters
1 x Arduino Mega
1 x Duct Sealant
6 x Duct Take-Offs
1 x Clear Vinyl
1 x Rubber Sealing Strips
1 x Foam Sealing Strips
Updated Materials
1 x Ambient Air Adapter
1 x Pack of Wires
1 x Fiberglass Insulation
1 x 16,800 BTU Portable A/C
2 x Waterproof Electric Strip Heaters
2 x Plastic Totes
1 x Circulation Pump
3 x Float Switches
1 x Tubing
1 x Plywood Base
4 x Cart Wheels
David Wilson
33

## Slide 34
Prototype Sketch
David Wilson
34
Waterproof Heaters
Industrial Humidifier
Depth: 28"
Chamber Length: 40"
Height: 47"
Approximate Volume: 30 ft3
Portable
Floor-Mounted
A/C Unit

## Slide 35
Ordered Materials
= 90%
Total Cost $ 4,513.23
Budget $ 5,000.00
Approved BOM | 
Total Part Cost | $ 4,164.88
Total Shipping Cost | $ 97.84
Total Labor Cost | -
Total Taxes | $ 250.51
Total Cost | $ 4,513.23
Cost Budget Ratio | 90%
Expensive Items
A/C Unit - $2,942.55
Ambient Air Adapter - $424
Humidifier - $307.38
David Wilson
35

## Slide 36
Material Summary
Complete BOM | 
Total Part Cost | $ 4,428.48
Total Shipping Cost | $ 106.73
Total Labor Cost | -
Total Taxes | $ 265.71
Total Cost | $ 4,798.74
Cost Budget Ratio | 96%
Incidental Items
Flex Duct
Screws, Wing Nuts, Washers
Temperature Controller
Circulation Pump
P-Trap
Float Switches
David Wilson
36
COE Machine Shop
Drilling Holes in Plexiglass
Cutting Vinyl

## Slide 37
Receive Materials
Test Components
Program & Tune Controls
Oversee Installation
David Wilson
Future Work

## Slide 38: Timeline
Design Review 5
March
February
April
Programming
Testing/Tuning
Implementation
Presentation
David Wilson
Engineering Design Day
(April 7th, 2022)
Incidental Materials
Receive Materials
Today

## Slide 39: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
.
Tucker Hall

## Slide 40: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Fixed Side Ducts
Tucker Hall

## Slide 41: Final Selection
Dips Inside Ductwork
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Rubber Inserts
Tucker Hall

## Slide 42: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Dips Inside Ductwork
Tucker Hall

## Slide 43
Concept Generation
Brainstorm
Biomimicry
Anti-Problem
Morphological Chart
Nicholas Blenker

## Slide 44: High Fidelity
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and a Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable
Overhead Ducts, Puddy Infiltration
Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Nicholas Blenker

## Slide 45: High Fidelity
Floor-Mounted AHU with Fixed Side
Ducts, Rubber Inserts, and Dips Inside
Ductwork
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and a Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Infiltration Seals, and Dips Inside Ductwork
Nicholas Blenker

## Slide 46: High Fidelity
Floor-Mounted AHU with Detachable
Overhead Ducts, Rubber Inserts, and a
Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Infiltration Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Detachable Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Nicholas Blenker

## Slide 47
Key Targets & Metrics
Function | Target | Metric
Monitor Temperature and Humidity | 1% | Temp/RH
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Control
Nicholas Blenker

## Slide 48
Key Targets & Metrics
Function | Target | Metric
Allow Access from All Sides | 3 Sides | Accessible Sides
Enable Efficient Exchange of Compressor(s) | 15 minutes | Time
Provide Clear View of Compressor | 360° Visibility | Degrees of visibility
Adjust Temperature and Humidity | No Human Interaction | Human Interaction
Accessibility
Nicholas Blenker

## Slide 49
Risk Analysis
49
Step/Feature Investigated | Potential Failure Mode | Potential Failure Effects | Potential Causes | Current Controls | Action(s) Taken
Electric Heating Strips | Accidental Contact | Burns | User Error | Warning Label | Added Caging
 | Getting Wet | Electric Shock, Equipment Failure | Condensation Buildup, Lack of Collection | Elevated Stands | PPE, Added Collection System
 | Fire | Burns, Equipment & Property Damage | Short Circuit | Insulated Wiring, Temperature Sensors | Added Electrical Tape
David Wilson

## Slide 50
Risk Analysis
Step/Feature Investigated | Potential Failure Mode | Potential Failure Effects | Potential Causes | Current Controls | Action(s) Taken
Humidifying | Condensation Pooling | Electric Shock, Equipment Failure | Condensation Buildup, Lack of Collection | Foam Padding, Sensors | PPE, Collection System, Float Switch
Cooling | Ambient conditions above 113°F | Equipment Failure | Overheating, Failure to Cut Off | Arduino Control | Decreased Cut-Off Temperature
Controls/Wiring | Gets wet | Fire, Equipment Failure | Poor Connections, Condensation | Insulated Wiring, Temperature Sensors | Added Electrical Tape
David Wilson
50

## Slide 51
Screw-On Side Ducts
- Easily removable
- More accessible
- Reduced length of ductwork
- Increased portability
Screw-On Side Ducts​
Key Changes
29,000 BTU Chiller
Floor-Mounted AHU
Industrial Humidifier
1
2
3
4
1
2
3
4
1
29,000 BTU A/C
- More versatile
- Most value (power vs cost)
- Compensates for leaks &
infiltration
- Decreases time response
- Built-in ductwork
2
Industrial Humidifier
- Ensures 95% RH
- Large tank
- Decreases time response
- Automated control system
3
Floor-Mounted AHU
- Limited wall space
- Suggested by lab staff
- Reduced length of ductwork
- Increased portability
4
Tucker Hall

## Slide 52
ENVIRONMENTALLY CONTROLLED TEST CHAMBER
TEAM 503
Nicholas Blenker
njb17@my.fsu.edu
Tucker Hall
tdh16c@my.fsu.edu
David Wilson
dhw18@my.fsu.edu

## Slide 53
References

## Slide 54: Concept Selection
Provide Support
Change Temp. & Humidity
Regulate Air Circ.
Provide Access
Provide Visibility
Display
Conditions
Monitor
Conditions
Automate Control
Provide Clearance
Engineering Characteristics
Tucker Hall

## Slide 55: Concept Selection
Engineering Characteristics
Tucker Hall
Change Temp. & Humidity
Regulate Air Circ.
Provide Access
Monitor
Conditions
Automate Control
1
2
3
4
5
House of Quality
Pairwise Comparison

## Slide 56: Concept Selection
Change Temp. & Humidity
Regulate Air Circ.
Provide Access
Monitor
Conditions
Automate Control
Tucker Hall
1
2
3
4
5
Pugh Chart
Analytical Hierarchy
Winning Design

## Slide 57: Key Changes
Wall-Mounted AHU
Floor-Mounted AHU
Crane Outside Chamber
Crane Inside Chamber
Could use interior plexiglass
Cannot use interior
plexiglass
Visit to Danfoss
Communication with Lab Staff
Things That Have Changed
David Wilson

## Slide 58
Key Targets & Metrics
Function | Target | Metric
Maintain Structural Stability | 0% | Deformation
Support Airducts and Equipment | 5 lbs | Weight
Monitor Temperature and Humidity | 1°C | 
Add & Remove Heat | 10°C ≤ T ≤ 50°C | Temperature
Increase & Decrease Humidity | 0-95% RH | Relative Humidity
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Allow Access from All Sides | 3 Sides | Accessible Sides
Enable Efficient Exchange of Compressor(s) | 15 minutes | Time
Provide Clear View of Compressor | 360° Visibility | Degrees of visibility
Adjust Temperature and Humidity | No Human Interaction | Human Interaction
Nicholas Blenker
Support
Control
Accessibility

## Slide 59: Concept Selection
Pairwise Comparison
Change Temp
& Humidity
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Support
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Change Temp
& Humidity
Monitor
Conditions
Provide
Access
Provide
Clearance
Provide
Support
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
1
3
5
7
9
2
4
6
8
2
4
6
8
1
3
5
7
9
David Wilson

## Slide 60: Concept Selection
Pairwise Comparison
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Support
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Monitor
Conditions
Provide
Access
Provide
Clearance
Provide
Support
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
3
5
7
9
2
4
6
8
2
4
6
8
3
5
7
9
David Wilson
Change Temp
& Humidity
Change Temp
& Humidity
1
1

## Slide 61: Concept Selection
Pairwise Comparison
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Monitor
Conditions
Provide
Access
Provide
Clearance
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
3
5
7
9
2
4
6
2
4
6
8
3
5
7
David Wilson
Change Temp
& Humidity
Provide
Support
Change Temp
& Humidity
Provide
Support
1
8
1
9

## Slide 62: Concept Selection
Pairwise Comparison
Pugh Chart
1
2
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
7: Floor-Mounted AHU with
Detachable Overhead Ducts, Rubber
Inserts, and a Close-Off Inside Ductwork
Winning Design
David Wilson

## Slide 63: Concept Selection
Pairwise Comparison
Pugh Chart
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
7: Floor-Mounted AHU with
Detachable Overhead Ducts, Rubber
Inserts, and a Close-Off Inside Ductwork
Winning Design
David Wilson
1
2

## Slide 64: Concept Selection
Pairwise Comparison
Pugh Chart
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Winning Design
David Wilson
1
2

## Slide 65
Risk Analysis
65
Step/Feature Investigated | Potential Failure Mode | Potential Failure Effects | Potential Causes | Current Controls | Action(s) Taken
Electric Heating Strips | Accidental Contact | Burns | User Error | Warning Label | Added Caging
 | Getting Wet | Electric Shock, Equipment Failure | Condensation Buildup, Lack of Collection | Elevated Stands | PPE, Added Collection System
 | Fire | Burns, Equipment & Property Damage | Short Circuit | Insulated Wiring, Temperature Sensors | Added Electrical Tape

## Slide 66
Risk Analysis
66

## Slide 67
67
Risk Analysis

## Slide 68
68
Risk Analysis

## Slide 69
69
Risk Analysis

## Slide 70
Functional Decomposition
Support
Control
Accessibility
Presenter

## Slide 71
Environmentally Controlled Testing Chamber
Support
Control
Accessibility
Maintains Climate Stability
Control Temperature
Maintains Structural Stability
Support Airducts and Equipment
Control Humidity
Chamber
Climate Control
Functional Decomposition
Presenter

## Slide 72
Functional Decomposition
Presenter

## Slide 73
Key Goals – SAE Standards
Presenter

## Slide 74
Cross Reference Chart
Hierarchy Flow Chart
Functional Decomposition
Presenter

## Slide 75
Targets & Metrics
Support
Function | Target | Metric
Maintain Structural Stability | 0% | Deformation
Support Airducts and Equipment | 5 lbs | Weight
Nicholas Blenker

## Slide 76
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
10°C
50°C
0%
95%
Nicholas Blenker

## Slide 77
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Nicholas Blenker

## Slide 78
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Nicholas Blenker

## Slide 79
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
Nicholas Blenker

## Slide 80
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
Nicholas Blenker

## Slide 81
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
10°C
50°C
0%
95%
25%
40°C
Nicholas Blenker

## Slide 82: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 83: Medium Fidelity
Wall-Mounted AHU with Increased Wall
Thickness
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 84: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside
Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 85: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and
Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 86: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like
Chamber Surface
Nicholas Blenker

## Slide 87
Prototype Sketch
David Wilson
87
Waterproof Heaters x4
Industrial Humidifier
Width: 28 inches
Chamber Length: 40 inches
Height: 47 inches
Supersonic Portable Floor – Mounted
A/C - Unit
Approximate Volume: 30 ft^3
Should we also try to add the condensation bit?

## Slide 88
Color Palette
(FAMU not UM)

## Slide 89
Team 503 Icons

## Slide 90: Views of Chamber

## Slide 91: Logos

## Slide 92: Tool kit
Text box 1
Summary Box
Outlined Text box

## Slide 93: APA Tables
Category 1 | Category 2 | Category 3 | Category 4 | Category 5
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  | 
 | Category 2 |  | Category 3 | 
Category 1 | subcategory 1 | subcategory 2 | subcategory 3 | subcategory 4
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  |