## Slide 1: Retaining Water Ice in Regolith at Vacuum - T519
Design Review 4
February 15, 2024

## Slide 2: Team Introductions
Luke Leibkuchler
Systems Engineer
Megan Reid
Design Engineer
Katherine Mesa
Fluid Test Engineer
Trent Walker
Thermal Fluids Engineer
Kevin Hernandez Lichtl
Astronautical Engineer
Katherine Mesa

## Slide 3: Sponsor and Advisor
Annette Gray
NASA-Marshall Space Flight Center
Mentor
Dr. Shayne McConomy
FAMU-FSU College of Engineering
Advisor
Marvin Barnes
NASA-Marshall Space Flight Center
Sponsor
Katherine Mesa

## Slide 4: Objective
The objective of this project is to mimic the lunar surface environment in a test fixture​
Katherine Mesa
Notes: “In order to mimic the lunar surface, we need to understand it first”

## Slide 5: Lunar Surface
Surface is made of regolith
Katherine Mesa
Atmospheric pressure is equivalent to 2.96x10-15 atm
Water is found as ice in shadowed regions on craters
Average temperature ranges from 90 K to 380 K
Notes: To verify performance of structures, mechanisms, and processes, NASA created the PLANET Chamber in Huntsville.
Our job is to simulate lunar surface conditions with a regolith simulant (material that has similar chemical comp. to regolith)

## Slide 6: Background
Convert ice into fuel
Lunar Station
Water ice in craters on the poles
Develop technologies to extract ice
Katherine Mesa
Notes: As we move towards being an interplanetary species
To allow for human travel throughout the solar system, it is believed a lunar colony will be a necessity.
Rather than embarking from Earth, a lunar station will significantly more energy efficient as the moon has a much weaker gravitational force to overcome.
It is believed the moon has water ice hidden in permanently shadowed areas of craters.
Convert H2O --> H2 + O

## Slide 7: PLANET Chamber
High-fidelity lunar surface environment inside a high-vacuum chamber at NASA
Testing Parameters:
Pressure up to 10-8 Torr
LN2 plumbing
Katherine Mesa
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 8: Properties of Water
Katherine Mesa
Notes: Water Phase Diagram
Lots of energy when saying going down to this pressure without sublimating – main reason we are here

## Slide 9: Properties of Water
Katherine Mesa
Notes: Water Phase Diagram
Lots of energy when saying going down to this pressure without sublimating – main reason we are here

## Slide 10: Properties of Water
Katherine Mesa
Notes: Water Phase Diagram
Lots of energy when saying going down to this pressure without sublimating – main reason we are here

## Slide 11: Customer Needs
Katherine Mesa
1
2
3
4
Control water composition and phase within regolith sample
Cool regolith sample to cryogenic temperatures
Maintain uniform water composition and phase along with temperature
Compatible with PLANET chamber apparatus

## Slide 12
Functional Decomposition
NASA Cooling Fixture
Thermal
Controls
Structure
Katherine Mesa

## Slide 13
NASA Cooling Fixture
Thermal
Controls
Structure
Post Pump Down
Control water composition
Cool entire mass to cryogenic temperatures
Critical Functions
Katherine Mesa
Pre Pump Down
Maintain temperature at high vacuum

## Slide 14
Targets and Metrics
Katherine Mesa
Water Composition
Prepare a testing sample containing 95% regolith and 5% water
Cryogenic Temperatures
Cool sample down to 170K – 200K
High Vacuum Pressure
Testing fixture can withstand pressures from 1 atm - 10-10 atm

## Slide 15: Concept Generation
100 Concepts
3 High Fidelity
5 Medium Fidelity
Katherine Mesa

## Slide 16: High Fidelity
Cryogenic Jacket
Retractable Augers
1
3
Liquid Nitrogen Drip
2
Katherine Mesa

## Slide 17: Concept Selection Analytical Hierarchy
Katherine Mesa
Notes: Binary Pairwise, House of Quality, Pugh Chart, AHP

## Slide 18: Final Selection
Can Cool Entire Bed Evenly
Minimal Impact to PLANET
Ease of Controlling Water Composition
Operates During Ambient Conditions
Liquid
Nitrogen Drip
Katherine Mesa

## Slide 19
Design Changes
Since the Drip Lid must be removed, No Cooling during:
  Experimental setup
  Pump down
  Extraction test in high-vacuum
Main Limitation
Katherine Mesa
Liquid Nitrogen Drip
Notes: How do we ensure temperature is maintained?

## Slide 20
Liquid Nitrogen Drip
Design Changes
Cryogenic Jacket
Katherine Mesa
Notes: “to target the limitations found with the nitrogen drip, we decided to combine our top two ideas into one: the nitrogen drip and the cryogenic temperature”

## Slide 21
Liquid Nitrogen Drip
Design Changes
Cryogenic Jacket
Maximize Cooling
Katherine Mesa
Notes: “to target the limitations found with the nitrogen drip, we decided to combine our top two ideas into one: the nitrogen drip and the cryogenic temperature”

## Slide 22
Liquid Nitrogen Drip
Design Changes
Cryogenic Jacket
Maximize Cooling
Maintain Temperature
Katherine Mesa
Notes: “to target the limitations found with the nitrogen drip, we decided to combine our top two ideas into one: the nitrogen drip and the cryogenic temperature”

## Slide 23: Current Design: Assembly
Megan Reid
Lid
Jacket
Shell
Grate
Bottom

## Slide 24: Current Design: Lid
Megan Reid
Top View
Bottom View
LN2 Inlet
Drilled Holes

## Slide 25: Current Design: Jacket
Megan Reid
LN2 Inlets
Attachment Points
GN2 Outlets

## Slide 26: Current Design: Grate
Megan Reid
Perforated Sheet

## Slide 27: Current Design: Bottom
GN2 Outlet
Megan Reid
Notes: Sample is mixed and you’re ready to cool it down.

## Slide 28: Operating Procedure – Pre-Cool
1
Weigh Out Needed Regolith and Water
Megan Reid

## Slide 29: Operating Procedure – Pre-Cool
+
=
1
Weigh Out Needed Regolith and Water
2
Combine Regolith and Water
Megan Reid

## Slide 30: Operating Procedure – Pre-Cool
1
Weigh Out Needed Regolith and Water
2
Combine Regolith and Water
3
Add Sample to Box
Megan Reid

## Slide 31: Operating Procedure – Pre-Cool
1
Weigh Out Needed Regolith and Water
2
Combine Regolith and Water
3
Add Sample to Box
Megan Reid

## Slide 32: Operating Procedure – Pre-Cool
1
Weigh Out Needed Regolith and Water
2
Combine Regolith and Water
3
Add Sample to Box
Megan Reid
4
Purge System with Dry Air
Dry Air
LN2 Lid

## Slide 33: Operating Procedure – Cool Down
A
LN2 Jacket Priming
Sample is ready. Assume at 295K
Megan Reid
Nitrogen Jacket
PLANET Chamber
*Not pressurized

## Slide 34: Operating Procedure – Cool Down
Sample is ready. Assume at 295K
Megan Reid
A
LN2 Jacket Priming
LN2
GN2 Exit
PLANET Chamber
*Not pressurized

## Slide 35: Operating Procedure – Cool Down
Sample is ready. Assume at 295K
Megan Reid
B
LN2 Jacket & Drip Lid
LN2
A
LN2 Jacket Priming
PLANET Chamber
*Not pressurized
LN2
GN2 Exit
LN2 Jacket Still Connected
GN2 Exit

## Slide 36: Operating Procedure – Post Cool
Megan Reid
LN2 Jacket Still Connected
170K-200K Reached

## Slide 37: Operating Procedure – Post Cool
Megan Reid
1
Remove LN2 Lid
LN2 Jacket Still Connected
170K-200K Reached

## Slide 38: Operating Procedure – Post Cool
Megan Reid
1
Remove LN2 Lid
2
LN2 Jacket Still Connected
170K-200K Reached
Experimental Setup

## Slide 39: Operating Procedure – Post Cool
Megan Reid
1
Remove LN2 Lid
2
LN2 Jacket Still Connected
170K-200K Reached
Experimental Setup
3
Ready for Vacuum

## Slide 40: Operating Procedure – Post Cool
Megan Reid
1
Remove LN2 Lid
2
LN2 Jacket Still Connected
170K-200K Reached
Experimental Setup
3
Ready for Vacuum
4
Pump Down

## Slide 41: Bill of Materials
Chart: Budget Overview
| Spent | Remaining
 | 1058.69 | 941.31
Megan Reid

## Slide 42: Challenges
1
2
3
4
Cooling
Impermeable layers of ice due to rapid freezing
Temperature reaching the core of the sample
Megan Reid

## Slide 43: Challenges
1
2
3
4
Cooling
Liquid Nitrogen
Impermeable layers of ice due to rapid freezing
Temperature reaching the core of the sample
LN2 boil off effects
Expansion rate from LN2 to GN2
Acquiring LN2 for testing
Megan Reid

## Slide 44: Challenges
1
2
3
4
Cooling
Liquid Nitrogen
Safety Valve
Impermeable layers of ice due to rapid freezing
Temperature reaching the core of the sample
LN2 boil off effects
Expansion rate from LN2 to GN2
Acquiring LN2 for testing
Optimal location for pressure safety valve
Megan Reid

## Slide 45: Challenges
1
2
3
4
Cooling
Liquid Nitrogen
Safety Valve
Weight
Impermeable layers of ice due to rapid freezing
Temperature reaching the core of the sample
LN2 boil off effects
Expansion rate from LN2 to GN2
Acquiring LN2 for testing
Optimal location for pressure safety valve
Ease of transporting
Removing the LN2 lid
Megan Reid

## Slide 46: Future Work
CAD and Fabrication
Procurement
Testing Facility Details
Programming
Continue working on COMSOL model
Finalize CAD and begin fabrication process
Begin controls programming and LabView
Locate a testing facility to run initial test
Meet with advising team
Order remaining materials
COMSOL Model
Megan Reid

## Slide 47: Thank You!
Notes: Targets and Metrics
Concept Generation and Selection
Prototypes
Biweekly Sponsor Meetings
Risk Assessment
Bill of Materials
Spring Project Plan

## Slide 49: Background
Regolith is the layer of rock and dust on the moon
Highly insulative
Katherine Mesa
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 50: Background
Regolith is the layer of rock and dust on the moon
Highly insulative
PLANET Chamber
High-fidelity lunar surface environment inside a high-vacuum chamber at NASA
Katherine Mesa
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 51: Customer Needs
Katherine Mesa
1
Control water composition and phase within regolith sample
2
Cool regolith sample to cryogenic temperatures
3
Maintain uniform water composition and phase along with temperature
4
Compatible with PLANET chamber apparatus

## Slide 52: Concept Selection
Trent Walker
Binary Pairwise
House of Quality
Pugh Chart
Analytical Hierarchy

## Slide 53
Katherine Mesa
Regolith Fixture
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 54
Katherine Mesa
Regolith Fixture
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 55: Preliminary Drip Lid CAD
Top View - Open
Top View - Closed
Kevin Hernandez Lichtl

## Slide 56: Preliminary Drip Lid CAD
Side View - Exploded
Bottom View - Exploded
Kevin Hernandez Lichtl

## Slide 57: Current Design: Assembly
Megan Reid

## Slide 58: Current Design: Lid
Megan Reid
Top View
Bottom View
LN2 Inlet

## Slide 59: Current Design: Jacket
Megan Reid

## Slide 60: Current Design: Grate
Megan Reid

## Slide 61: Current Design: Bottom
Megan Reid
Notes: Sample is mixed and you’re ready to cool it down.

## Slide 62
Katherine Mesa
Simulate lunar surface conditions with a regolith simulant
Cryogenic Temperature
Water Composition and Phase
Our Job
Compatible with PLANET chamber
Notes: Made of rock chips, mineral fragments, impact and volcanic glasses and a Moon component called “agglutinates”

## Slide 63: Liquid Nitrogen Drip
1
3
2
Regolith Bed
LN2 Liquid Drip
LN2 Liquid
Kevin Hernandez Lichtl

## Slide 64: Liquid Nitrogen Drip
1
3
2
Regolith Bed
Pump
LN2 Liquid Drip
LN2 Gas Exit
LN2 Liquid
Kevin Hernandez Lichtl

## Slide 65: Liquid Nitrogen Drip
1
3
2
Regolith Bed
Pump
LN2 Liquid Drip
LN2 Gas Reentry
LN2 Gas Exit
Bottom Grate
LN2 Liquid
Kevin Hernandez Lichtl

## Slide 66: Liquid Nitrogen Drip
1
3
2
Regolith Bed
Pump
LN2 Liquid Drip
LN2 Gas Reentry
LN2 Gas Exit
Bottom Grate
LN2 Liquid
LN2 Gas Exit
Kevin Hernandez Lichtl

## Slide 67
Kevin Hernandez Lichtl

## Slide 68: Testing and Validation
Water Composition
Confirm formula for calculating water needed for amount of regolith.
Cooling
Is cooling more efficient with step A or step B of cool down?
Sensors
Are the sensors correctly placed to read temperature distribution?
Tubing
Are there any N2 gas leaks once testing fixture is connected?
How quick does the sample regain heat?
Megan Reid

## Slide 69: Testing and Validation
1
2
3
4
Water Composition
Cooling
Tubing
Sensors
Confirmed formula for calculating water needed for amount of regolith.
Experiment is created for comparing cool down options.
Megan Reid

## Slide 70: Operating Procedure – Post Cool
170K Reached
Megan Reid

## Slide 71: Operating Procedure – Post Cool
1
Remove N2 Lid
170K Reached
Megan Reid

## Slide 72: Operating Procedure – Post Cool
1
Remove N2 Lid
2
Add Styrofoam Lid
170K Reached
Megan Reid

## Slide 73: Operating Procedure – Post Cool
1
Remove N2 Lid
2
Add Styrofoam Lid
3
Ready for Vacuum
PLANET Chamber
170K Reached
Megan Reid
Notes: ***remove Styrofoam lid, transport to chamber, ready for vacuum

## Slide 74: Operating Procedure – Cool Down
Sample is ready. Assume at 295K
Megan Reid

## Slide 75: Operating Procedure – Cool Down
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2 Lid
Sample is ready. Assume at 295K
Megan Reid

## Slide 76: Operating Procedure – Cool Down
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2 Lid
Sample is ready. Assume at 295K
Megan Reid

## Slide 77: Operating Procedure – Cool Down
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2
LN2 Lid
Sample is ready. Assume at 295K
Megan Reid

## Slide 78: Operating Procedure – Cool Down
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2
LN2 Lid
B
Two Step – Freezer & LN2
Freezer
Sample is ready. Assume at 295K
Megan Reid

## Slide 79
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2
LN2 Lid
B
Two Step – Freezer & LN2
Freezer
Transfer at 260K
Operating Procedure – Cool Down
Sample is ready. Assume at 295K
Megan Reid

## Slide 80
A
One Step – LN2 Primary
PLANET Chamber
*Not pressurized
LN2
LN2 Lid
B
Two Step – Freezer & LN2
Freezer
Transfer at 260K
PLANET Chamber
*Not pressurized
LN2
LN2 Lid
Operating Procedure – Cool Down
Sample is ready. Assume at 295K
Megan Reid

## Slide 81: Operating Procedure – Post Cool
Megan Reid
1
Remove N2 Lid
2.5
Add Styrofoam Lid
LN2 Jacket Still Connected
170K-200K Reached

## Slide 82: PLANET Chamber Planetary, Lunar, and Asteroid Natural Environments Testbed
A high-fidelity lunar surface environment inside a well equipped high-vacuum chamber at NASA’s Marshall Space Flight Center
Megan Reid

## Slide 83: Current Issue
Water ice in regolith will sublimate to gas if not cold enough before high vacuum
Water vapor condenses out of air when cooled before vacuum
Megan Reid
Notes: Water VAPOR, condenses out of air when cooled before vacuum...
affecting regolith-water content

## Slide 84
Key Goals
Thermal Maintenance
PLANET
Chamber
High Vacuum
Regolith
Megan Reid
Notes: Cool regolith simulant bed before and during high vacuum (10^-7 Torr)
Regolith needs to be cooled to a low enough temperature before depressurization so that water ice doesn’t sublimate
Needs to fit within the NASA PLANET Chamber

## Slide 85: Properties of Water
Megan Reid

## Slide 86: Customer Needs
Maintain water in the solid phase
Water will be in the regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber
Katherine Mesa

## Slide 87: Customer Needs
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber
Katherine Mesa

## Slide 88: Customer Needs
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber
Katherine Mesa

## Slide 89: Customer Needs
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Ability to monitor moisture, pressure, and temperature in regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber
Katherine Mesa

## Slide 90: Customer Needs
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Ability to monitor moisture, pressure, and temperature in regolith
Fits into and is compatible with the PLANET Chamber
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber
Katherine Mesa

## Slide 91: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 92: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 93: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 94: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 95: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 96: Customer Needs
Maintain Water at Ice in Regolith
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber
Luke Leibkuchler

## Slide 97: Properties of Water
Katherine Mesa
Notes: Lots of energy when saying going down to this pressure without sublimating – main reason we are here

## Slide 98: Properties of Water
Katherine Mesa
Notes: Lots of energy when saying going down to this pressure without sublimating – main reason we are here

## Slide 99
Markets & Stakeholders
Megan Reid
NASA
MagLab
Private Aerospace Companies
FAMU-FSU
Notes: Primary:
  NASA
Secondary:
  SpaceX, Boeing, or Blue Origin
  Private aerospace companies developing extraction and excavation technologies

## Slide 100: Customer Needs
Maintain Water at Ice
Operate in Atmospheric to High Vacuum Pressure
Uniform Moisture, Pressure, and Temperature in Regolith
Ability to Monitor Properties
Operate in PLANET Chamber

## Slide 101
Functional Decomposition
NASA Regolith Cooling Fixture
Thermal
Controls
Structure
Luke Leibkuchler

## Slide 102
Functional Decomposition
NASA Regolith Cooling Fixture
Thermal
Controls
Structure
Luke Leibkuchler

## Slide 103
Functional Decomposition
Thermal
Pre Pump Down
Post Pump Down
Water in Air
Cool Entire Mass to Cryogenic Temperatures
High Vacuum
Luke Leibkuchler

## Slide 104
Functional Decomposition
NASA Regolith Cooling Fixture
Thermal
Controls
Structure
Luke Leibkuchler

## Slide 105
Functional Decomposition
Controls
User Interface
Motion
Data Acquisition
Display
Hatch
Luke Leibkuchler

## Slide 106
Functional Decomposition
NASA Regolith Cooling Fixture
Thermal
Controls
Structure
Luke Leibkuchler

## Slide 107
Functional Decomposition
Structure
Operate within PLANET
Withstand PLANET
In and Out of Chamber
Within Dimensions
Electrical Components
Integrity at Extreme Conditions
Luke Leibkuchler

## Slide 108: Functional Decomposition
Thermal
Cool entire regolith mass to –180 degC
Prevent water condensation
Pre-Pump Down
Post-Pump Down
Maintain high vacuum pressure within the fixture
Maintain specific regolith-water composition

## Slide 109
Functional Decomposition
Structure
Operate within PLANET chamber
Withstand PLANET conditions
Allows transport in and out of chamber
Fit within chamber dimensions
Maintain structural integrity
Protect electrical/
mechanical components
Withstands high vacuum
Withstands cryogenic temperatures
Allows flow of coolant
Utilizes materials invisible to microwave radiation

## Slide 110
Functional Decomposition
Controls
Motion
DAQ
User Interface
Display
Open hatch for testing
Close hatch after testing
Display temperature data
Display hatch position data
Display water moisture and fixture pressure data
Collect
temperature data
Collect hatch position data
Collect water moisture and fixture pressure data
Collect coolant flow rate data
Display coolant flow rate data

## Slide 111
Customer Needs

## Slide 112
Key Goals
Thermal Maintenance
Megan Reid
Notes: Cool regolith simulant bed before and during high vacuum (10^-7 Torr)
Regolith needs to be cooled to a low enough temperature before depressurization so that water ice doesn’t sublimate
Needs to fit within the NASA PLANET Chamber

## Slide 113
Key Goals
Thermal Maintenance
Regolith
Megan Reid
Notes: Cool regolith simulant bed before and during high vacuum (10^-7 Torr)
Regolith needs to be cooled to a low enough temperature before depressurization so that water ice doesn’t sublimate
Needs to fit within the NASA PLANET Chamber

## Slide 114
Key Goals
Thermal Maintenance
PLANET
Chamber
Regolith
Megan Reid
Notes: Cool regolith simulant bed before and during high vacuum (10^-7 Torr)
Regolith needs to be cooled to a low enough temperature before depressurization so that water ice doesn’t sublimate
Needs to fit within the NASA PLANET Chamber

## Slide 115
Key Goals
Thermal Maintenance
PLANET
Chamber
High Vacuum
Regolith
Megan Reid
Notes: Cool regolith simulant bed before and during high vacuum (10^-7 Torr)
Regolith needs to be cooled to a low enough temperature before depressurization so that water ice doesn’t sublimate
Needs to fit within the NASA PLANET Chamber

## Slide 116
Assumptions
PLANET Chamber
Instrumentation
Regolith Simulant
Megan Reid
Materials provided for final testing at NASA - MSFC
Operating Conditions
Humidity is controlled at 65%
Cooling with Cryogenic Liquids
No extreme conditions
Notes: Following Materials will supplied:
  Liquid Nitrogen
  Regolith Simulant
  Vacuum Chamber
  Instrumentation
Final testing conducted at Marshall Space Flight Center
Humidity is at 65% (controlled)

## Slide 117
Markets & Stakeholders
NASA - MSFC
SpaceX
Boeing
Blue Origin
Other Private Aerospace Companies
Megan Reid
Notes: Primary:
  NASA
Secondary:
  SpaceX, Boeing, or Blue Origin
  Private aerospace companies developing extraction and excavation technologies

## Slide 118
Targets and Metrics
1.33e-4 Pa – 1.33e-5 Pa
173.15 K - 203.15 K
4-10%
Trent Walker
Notes: Units are trash

## Slide 119: Customer Needs
Luke Leibkuchler
Maintain water in the solid phase
Water will be in the regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber

## Slide 120: Customer Needs
Luke Leibkuchler
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber

## Slide 121: Customer Needs
Luke Leibkuchler
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber

## Slide 122: Customer Needs
Luke Leibkuchler
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Ability to monitor moisture, pressure, and temperature in regolith
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber

## Slide 123: Customer Needs
Luke Leibkuchler
Maintain water in the solid phase
Water will be in the regolith
Operates in atmospheric to high vacuum pressure
Mimics space environment
Reaches desired moisture, pressure, and temperature in regolith
Ability to monitor moisture, pressure, and temperature in regolith
Fits into and is compatible with the PLANET Chamber
Water
Phase
Pressure
Uniform
Properties
Monitor
Properties
PLANET
Chamber

## Slide 124
Functional Decomposition
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure

## Slide 125
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure
Functional Decomposition
Pre Pump Down
Post Pump Down
Control Water Composition
Cool Entire Mass to Cryogenic Temperatures
Pump to High Vacuum

## Slide 126
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure
Functional Decomposition
User Interface
Motion
Data Acquisition
Display Properties
Open Hatch

## Slide 127
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure
Functional Decomposition
User Interface
Motion
Data Acquisition
Display Properties
Open Hatch
Cool Entire Mass to Cryogenic Temperatures

## Slide 128
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure
Functional Decomposition
Withstand PLANET
Operate within PLANET
Protect Electrical Components
Structural Integrity at Extreme Conditions
Move In and Out of Chamber
Fit Within Dimensions

## Slide 129
Luke Leibkuchler
NASA Cooling Fixture
Thermal
Controls
Structure
Functional Decomposition
Withstand PLANET
Operate within PLANET
Protect Electrical Components
Structural Integrity at Extreme Conditions
Move In and Out of Chamber
Fit Within Dimensions
Lid
Controls

## Slide 130: Future Work
Luke Leibkuchler
Concept
Selection
Target &
Metrics
Concept
Generation
Risk
Assessment
Prototypes
Bill of
Materials
Create prototypes of high-fidelity concepts to aid in selection
Set targets and metrics for system
Generate 100 ideas for solution that fits needs and targets
Select final concept
Create bill of materials
Perform risk assessment
Meet with advising team
Notes: Targets and Metrics
Concept Generation and Selection
Prototypes
Biweekly Sponsor Meetings
Risk Assessment
Bill of Materials
Spring Project Plan

## Slide 131: Preliminary Drip Lid CAD
Top View - Open
Top View - Closed

## Slide 132: Preliminary Drip Lid CAD
Side View - Exploded
Bottom View - Exploded

## Slide 133: Thank You!
Notes: Targets and Metrics
Concept Generation and Selection
Prototypes
Biweekly Sponsor Meetings
Risk Assessment
Bill of Materials
Spring Project Plan

## Slide 134
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 135: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 136: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 137
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 138
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 139
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136